The Plastic and Polyethylene Pipes and Fittings (Mauritius Standard Specifications)

Regulations 2007

GN 54 of 2007

|  | Checklist of documents to be submitted for verification of Test Reports / Certificates of conformity |
| --- | --- |
| 1 | # Request letter from importer, through the Consumer Affairs Unit (CAU), with all contact details to be submitted in person, by e-mail or fax. This should include: - Name of importer - Address - Telephone & Fax No, E-Mail address, etc. - Billing address - Country of importation |
| 2 | Legible photocopies of invoices with clear description of imported items, their field of applications together with the Bill of Lading, through the (CAU) |
| 3 | Copies of Test Reports or Certificates of Conformity to the following standards referred in the Plastic and Polyethylene Pipes and Fittings Regulations 2007 (GN 54): |
| a) | MS ISO 4422-2- Pipes and fittings made of unplasticized poly(vinyl chloride) PVC-U for water supply- Specifications Part 2: Pipes (with or without integral sockets) |
| b) | MS ISO 4422-3- Pipes and fittings made of unplasticized poly(vinyl chloride) PVC-U for water supply- Specifications Part 3: Fittings and Joints |
| c) | MS ISO 3633-Plastics piping systems for soil and waste discharge (Low and high temperature) inside buildings- Unplasticized poly (vinyl chloride) |
| d) | MS ISO 4435- Plastics piping systems for non-pressure underground drainage and sewerage- Unplasticized Poly(vinyl chloride) PVC-U |
| e) | MS ISO 4427 –Polyethylene pipes for water supply |
| f) | MS ISO 14236 –Plastics pipes and fittings-Mechanical-Joint compression fittings for use with polyethylene pressure pipes in water supply fittings |

| 4 | # Note: Test report shall not be more than 2 years old. Should the test report be more than 2 years, the importer will have to show a proof from manufacturer that there has not been any changes in the manufacture of the item. In such cases, the report shall not be more than 5 years. |
| --- | --- |

Notes

- A minimum of two working days are required for the processing of requests depending on the number of Test Reports/Certificates of conformity submitted by importer.

- Test Reports where data or any other information appearing is not clear, will not be accepted

- Standards or specifications that are technically similar and identical with the above ISO standards may also be considered if specified in the regulations. It is the responsibility of the importer to ensure of the equivalence of these standards before importation.

- Application fee will be charged as per Bureau’s policy for each invoice submitted.

- Payment by cash/cheque to be made in favor of the Mauritius Standards Bureau.

- Clients having an outstanding balance will be required to clear any previous balances before the issue of Certificate of Conformity.